HORSE WEIGH ASSEMBLY INSTRUCTIONS

Goodwood

- Remove both halves of the platform from their bags.

- The black rubber ends are the ones that must be on each end. The clips will then be in the middle ready to join together.

- Unwrap the blue cables from their keepers. Make sure that the feet of the platform are not on top of the cables.

- Join the blue cables to the indicator, (weight read-out unit). (Remember to join the spare caps at the top of each cable to the caps from the indicator whilst in use so that no damp or dust can get into them – see no.8)

- Make sure that the platform cannot rock. If there is movement then use the spacers provided to stabilize it.

- Ensure that the platform is clear of the ground.

- The platform must be stable and may be used on gently sloping gradients. Any rocking can be stopped by inserting any of the supplied spacers. Ensure that the underside of the platform and between the black rubber feet is kept clear of dirt and stones as this will cause fluctuating/scrolling weights.

- During use, join the black screw caps on the blue cables with the black screw caps on the indicator, (weight read-out unit). After use, replace all black screw caps to the end of the blue cables and to the indicator when detaching the indicator. This good management will stop any damp/water/dust lodging inside the cables/indicator. If any damp gets in, it can be dried out by using a hairdryer for 5-10 minutes. (damp will cause fluctuating/scrolling weights.

For any other queries contact Horse Weigh®

Tel	   +44 (0)7774 783247 or +44 (0)1939 220667  william@horseweigh.com